appendices

The measured echo signals through different scan numbers are shown in Figure A-1. The network parameters were adjusted to be appropriate for the well-logging data available (Table B-1). In addition, we evaluated the effectiveness of the LMsNN method in inverting relaxation across different relaxation time ranges and T2 sampling points. (Figure C).

Figure A-1: The measured echo signals with high SNRs through 512 or 256 (red line) scan numbers for four cores. The echo signals with low SNRs measured by the low-scan numbers are also shown (black line).

Table B-1: LMsNN network parameters for the validation of NMR logging data.

| Layer No. | Type | Size | Strides | Filters |
| --- | --- | --- | --- | --- |
| 1 | Dense | 500 | - | - |
| 2 | Convolution | 5×1 | 1 | 32 |
| 3 | Convolution | 10×1 | 10 | 32 |
| 4 | Dense | 256 | - | - |
| 5 | Dense | 128 | - | - |
| 6 | Dense | 30 | - | - |

It is essential to investigate the impact of the number of T2 sampling points and the distribution range of the relaxation spectrum on the LMsNN method under different SNR conditions. This is particularly important for NMR logging data processing, where a limited number of T2 sampling points (e.g., 30 points) is commonly used to reduce artifacts in the inverted relaxation spectrum.

The kernel matrix is primarily influenced by the number of T2 sampling points and the relaxation spectrum range. Therefore, we conducted two comparative experiments to analyze the effect of 64 versus 30 T2 sampling points on LMsNN output, with a T2 distribution range of 0.3 to 3000 ms, and compared the results with those obtained using the BRD and SVD methods (Figure C, 1-4). The results demonstrate that the LMsNN method consistently maintains high spectral resolution, with the positions and amplitudes of the two spectral peaks remaining closest to the true T2 model, highlighting its robustness and accuracy in low-sampling conditions.

Figure C-1: Inversion results of BRD, SVD and LMsNN based on model 1. The number of T2 distribution points is set to 30, and the relaxation spectrum is distributed between 0.3 and 3000 ms.

Figure C-2: Inversion results of BRD, SVD and LMsNN based on model 2. The number of T2 distribution points is set to 30, and the relaxation spectrum is distributed between 0.3 and 3000 ms.

Figure C-3: Inversion results of BRD, SVD and LMsNN based on model 1. The number of T2 distribution points is set to 64 and the relaxation spectrum is distributed between 0.3 and 3000 ms.

Figure C-4: Inversion results of BRD, SVD and LMsNN based on model 2. The number of T2 distribution points is set to 64 and the relaxation spectrum is distributed between 0.3 and 3000 ms.